# PE3 Action: Water-efficient Fixtures June 9, 2021

In November of 2020 Erie County began the process of updating the water fixtures to water-efficient fixtures. Included below are the specifications for the flush valves and faucet fixtures, which includes the efficiency data.

The square footage of the replaced fixtures: 1,523,573

The square footage of the entire County: 3,318,015

The percentage replaced: 45.9%

Location of upgrades:

* 120 West Eagle
* 134 West Eagle
* Erie County Court Building: 25 Delaware
* Old County Hall: 92 Franklin
* Rath Building: 95 Franklin
* Family Court Building: 1 Niagara St
* Ticor Building: 110 Franklin
* Fire Training Academy: 3359 Broadway Ave, Cheektowaga
* Public Safety Campus: 45 Elm St. Buffalo
* Gajewski Health Center: 1500 Broadway, Buffalo
* Jesse Nash Health Center: 608 William St. Buffalo
* Weights and Measures: 2380 Clinton St. Cheektowaga
* Chestnut Ridge Park:  6121 Chestnut Ridge Road | Orchard Park, NY 14127
* Como Park: 2220 Como Park Blvd | Lancaster, NY 14086
* Ellicott Creek Park: 1 Ellicott Creek Dr.| Tonawanda, NY 14150
* Elma Meadows: 1711 Girdle Road | Elma, NY 14059
* Emery Park: 2084 Emery Road | South Wales, NY 14139
* Grover Cleveland: 3781 Main Street | Amherst, NY 14226
* Isleview Park: 796 Niagara Street | Tonawanda, NY 14150
* Sprague Brook Park: 9674 Foote Rd | Glenwood, NY 14069
* Wendt Beach Park: 7676 Old Lake Shore Road | Derby, NY 14047

We were unable to find the model data of the replaced parts.  There were a multitude of different styles, primarily Chicago brand; they were all 2.0 gpm or higher.